COUNTY DURHAM & DARLINGTON FIRE & RESCUE SERVICE

Fire Safety Risk Assessment Framwellgate Moor Youth & Community Association

For simple premises

Main Community Centre Building and School House Rooms 2026

Introduction

Fire Safety Risk Assessment

This form is intended to assist small businesses in carrying out the fire safety risk safety assessment. It is suitable for use in simple premises, with a simple internal layout and small numbers of people present, eg small offices, shops or industrial units and where people can escape unaided. In buildings with complicated escape arrangements, large numbers of people or high fire safety risk processes a more comprehensive fire safety risk assessment may be necessary.

The enclosed information follows a simple 5 step guide to completing a suitable assessment. The fire safety risk assessment does not need to be complicated, it should be a common sense review to identify the hazards (what could start a fire and what could burn), followed by consideration of the possible effects of a fire on people using the building. The important thing is that the fire safety risk assessment is systematic to ensure that every part of the premises is assessed. Every room, space or area, especially those not often used, should be included.

If you identify any significant risks you should consider if they can be reduced: first by removing the hazards and secondly by providing fire protection measures (eg automatic fire detection). These points should be addressed within the ‘What needs to be done to make each situation safe?’ section. If your premises are located within a larger building and if a fire in your business could affect your neighbours, you should share the findings of your fire safety risk assessment with your neighbours.

Your fire safety risk assessment must be kept up to date. It is important to update the assessment if anything is changed that might affect the risk (eg new ignition sources or use of flammable liquids etc.). If you identify that either the likelihood of a fire occurring or there is a risk to people you may want to consider seeking further assistance.

Emergency Plan

The findings of the fire safety risk assessment should be used to prepare an emergency plan. The plan should set out, what to do in case of fire, identify the escape routes, where to assemble and how to contact the Fire and Rescue Service. The fire safety equipment and any equipment that provides a possible ignition source (eg cooking, electrical appliances, etc.) should be regularly maintained to reduce the chance of fire and the risk to people. Frequent checks should also be made to make sure that the storage of materials, especially flammable materials, does not increase the risk of fire or prevent the use of escape routes. It is important that all members of staff know how to prevent fires and what to do if a fire does occur. To make sure that the emergency plan works regular fire drills should be carried out. For further guidance on the Regulatory Reform (Fire Safety) Order 2005 and for information and guidance on carrying out your fire safety risk assessment visit www.ddfire.gov.uk and following the links in fire safety then legislative fire safety.

The 5 Step Guide to Fire Safety Risk Assessment

| 1 | Identify the fire hazards |
| --- | --- |
| 2 | Identify people at risk |
| 3 | Evaluate, remove, reduce and protect from risk |
| 4 | Record, plan, inform, instruct and train |
| 5 | Review |

| Fire Safety Risk Assessment |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Details |  |  |  |  |  |  |
| Company Name: | Framwellgate Moor Youth & Community Association |  |  |  |  |  |
| Premises Name: | Framwellgate Moor Youth & Community Centre and School House Rooms |  |  |  |  |  |
| Address: | Front Street, Framwellgate Moor, Durham, Co. Durham, DH1 5BL |  |  |  |  |  |
| Responsible Person: | Mr Kenneth Gates, Trustee and Chair |  |  |  |  |  |
| Position: | Member Executive Committee |  |  |  |  |  |
| Date of Assessment: | 1st January 2026 |  |  |  |  |  |
| Carried out by: | Mr K Gates; Trustee |  |  |  |  |  |
| Position: | Building Compliance Manager. |  |  |  |  |  |
| Use of the Premises: | Community Centre Building with attached two story offices/meeting rooms. For hire and use by community-based organisations. |  |  |  |  |  |
| OCCUPANCY |  |  |  |  |  |  |
| Times in Use: |  |  | Weekdays: | As bookings | Weekends: | As bookings |
| Total Numbers of Staff: |  |  | Weekdays: | Varied. 1-4 | Weekends: | Varied 1-2 |
| Total of all Persons Present: |  |  | Weekdays: | 4-100 | Weekends: | Varied 1-100 |
| SIZE |  |  |  |  |  |  |
| Total Size of Premises (M2): |  |  | Halls total: 503; Main Offices total: 24.45; School House 119.48 |  |  |  |
| Number of Storeys: |  |  | - Main building single story b) School house two story |  |  |  |
| Number of Basements: |  |  | One: Heating Plant Room; Main Building |  |  |  |

INDEMNITY

This document has been produced as a tool to assist you in completing a fire safety risk assessment of your premises. It is used entirely at your own risk to identify what you consider are your significant findings, and also whether you consider the information therein to be suitable and sufficient. It is in no way exhaustive and County Durham and Darlington Fire and Rescue Service accepts no liability whatsoever for any circumstances which may arise as a result of using this tool.

| Step 1 - Identify Fire Hazards (Sources of Ignition) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Type |  | Location | Are existing control measures suitable? |  |  |  |  |  |  |  |  |  |  |  |  |
| Naked Flames |  | NONE |  |  |  |  |  | YES |  |  |  |  |  |  |  |
| Portable Heaters and Heating Equipment |  | YES. Four (4) numbers. Pat tested fan assisted portable 3kw heaters & one (1) portable 3kw radiator |  |  |  |  |  | YES |  |  |  |  |  |  |  |
| Electrical Equipment |  | YES. All portable electric equipment owned by association are PAT tested |  |  |  |  |  | YES |  |  |  |  |  |  |  |
| Cooking Equipment |  | YES. Fixed electrical microwaves, induction hobs & ovens. To be PAT Tested as required |  |  |  |  |  | YES |  |  |  |  |  |  |  |
| Work Process Risk(s) |  | No production process. |  |  |  |  |  | N/A |  |  |  |  |  |  |  |
| Arson |  | Building kept secure Storage in locked cupboards & stores |  |  |  |  |  | YES |  |  |  |  |  |  |  |
| Smoking Materials |  | No smoking policy |  |  |  |  |  | YES |  |  |  |  |  |  |  |
| Other Sources (including Contractors) |  | External storage areas Contractors visiting |  |  |  |  |  | YES |  |  |  |  |  |  |  |
|  | If you have answered NO to any question above complete the details below: - |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | What needs to be done to make each situation safe? |  |  | Action required by whom |  |  | Date due |  |  |  | Date complete |  |  |  |  |
|  | - NONE REQUIRED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | - NONE REQUIRED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | - NONE REQUIRED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | - NONE REQUIRED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Step 1 – Identify Fire Hazards (Sources of Fuel and Oxygen) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Type |  |  | Location |  | Are existing control measures suitable? |  |  |  |  |  |  |  |  |
| Wood / Paper /Cardboard |  | STORAGE AREAS Use of containers with lids. Regular checks for compliance to removal of waste cardboard & paper to external storage as soon as possible |  |  |  |  |  |  | YES |  |  |  |  |
| Plastics / Rubber / Foam |  | STORAGE AREAS Use of containers with lids. Regular monthly checks for removal of unused or incorrectly Stored items |  |  |  |  |  |  | YES |  |  |  |  |
| Retail Stock |  | NONE |  |  |  |  |  |  | YES |  |  |  |  |
| Furniture and Fixings (curtains, blinds etc) |  | Window Blinds & Soft Seating Soft Furnishing Seating Fire Rated Youth Areas Roller Blinds to Windows. |  |  |  |  |  |  | YES |  |  |  |  |
| Flammable Material (gases / liquids / paints / thinners / glues) |  | PAINTS Stored in metal container in external store of old School House |  |  |  |  |  |  | YES |  |  |  |  |
| Display Materials or Decorations |  | USER GROUPS EQUIPMENT Materials stored in containers with Lids Xmas & Other decorations stored in containers with lids at high level in central stores |  |  |  |  |  |  | YES |  |  |  |  |
| Waste Materials (refuse, packaging) |  | WASTE BINS Waste bins with lids distributed around buildings and emptied to external waste storage areas regularly. |  |  |  |  |  |  | YES |  |  |  |  |
| Building Structure |  | FIRE DETECTION & ALARM SYSTEM INSTALLED EMERGENCY LIGHTING INSTALLED |  |  |  |  |  |  | YES |  |  |  |  |
| Oxygen Supplies (air conditioning units / bottles / piped supply) |  | NONE |  |  |  |  |  |  | YES |  |  |  |  |
|  | If you have answered NO to any question above complete the details below: - |  |  |  |  |  |  |  |  |  |  |  |  |
|  | What needs to be done to make each situation safe? |  |  |  |  | Action required by whom |  | Date due |  |  | Date complete |  |  |
|  | - NONE REQUIRED |  |  |  |  |  |  |  |  |  |  |  |  |
| Step 2 – Identifying People at Risk |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Type | Findings |
| --- | --- |
| - Sensory Risk: People with visual and / or hearing impairment(s) | Audio Hearing Loop System Installed in Hall 2: Harvey. Visual aid is provided at entrances with door frames and doors painted in contrasting colour. Doors, Red / Frames, Yellow External steps and handrails are in yellow |
| - Mobility Risk: People with physical impairments | User groups may have a need for aides; this is the responsibility of particular user groups All entrances and exits are wheelchair friendly. Ramps are provided at Emergency Exit areas and main front and rear entrances apart from Emergency Exit to Hall 3: Hutton area which has an external step. |
| - Familiarity Risk: People who may be new to the premises and not familiar to its layout, seasonal workers, contractors, visitors or customers | All new people, hirers, user groups, contractors are made aware of their responsibilities regarding: - Evacuation plans in event of fire, start of session requirements, good housekeeping and checks required at completion of use. - Fire Action Plan & health & Safety Information notice boards are located at all halls of building. |
| - Numbers Risk: Large numbers of people, small numbers of disabled people | In event of fire, A Fire Action evacuation Plan, with information on location of emergency exits and fire assembly point is located at each hall and kitchen areas. Past fire drills carried out suggest clearing time of building for halls and kitchen areas is good – (within two minutes) |
| - Lone Workers / People Working in Isolation / Others | A Lone Workers Policy and Risk Assessment for all FMYCA employees; Records held in H&S File No 1. |

Additional Information: User groups, contractors, hirers may find themselves to be working alone. All hirers and users of halls, rooms & offices have, before they start their first session, been provided with full hire document and made aware of FMYCA Fire Action Safety Evacuation Plan Start and completion of session requirements in “Guide to the Use of Premises Guide”

| Step 3- Evaluate, Remove, Reduce and Protect from Risk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Are ignition sources controlled to reduce the chances of fire? |  |  |  |  |  |  | YES |  |  |  |  |  |  |  |  |  |
| Are combustible materials kept away from ignition sources? |  |  |  |  |  |  | YES |  |  |  |  |  |  |  |  |  |
| Are all windows and openings closed last thing at night? |  |  |  |  |  |  | YES |  |  |  |  |  |  |  |  |  |
| Is your fire alarm system adequate for your premises? |  |  |  |  |  |  | YES |  |  |  |  |  |  |  |  |  |
| Will everybody be warned if the fire alarm operates? |  |  |  |  |  |  | YES |  |  |  |  |  |  |  |  |  |
| Can everyone escape without assistance? |  |  |  |  |  |  | YES |  |  |  |  |  |  |  |  |  |
| Is escape from fire available in more than one direction? |  |  |  |  |  |  | YES |  |  |  |  |  |  |  |  |  |
| Are all fire exits easily identified by the correct signs? |  |  |  |  |  |  | YES |  |  |  |  |  |  |  |  |  |
| Are escape routes free from obstruction and storage? |  |  |  |  |  |  | YES |  |  |  |  |  |  |  |  |  |
| Are all doors on escape routes easily opened without a key? |  |  |  |  |  |  | YES |  |  |  |  |  |  |  |  |  |
| Do all doors on escape routes open in the direction of escape? |  |  |  |  |  |  | YES |  |  |  |  |  |  |  |  |  |
| Can everyone escape in a reasonable time? |  |  |  |  |  |  | YES |  |  |  |  |  |  |  |  |  |
| Do you have emergency lighting? |  |  |  |  |  |  | YES |  |  |  |  |  |  |  |  |  |
| Is the lighting adequate to illuminate circulation routes? |  |  |  |  |  |  | YES |  |  |  |  |  |  |  |  |  |
| Do you have fire fighting equipment? |  |  |  |  |  |  | YES |  |  |  |  |  |  |  |  |  |
| Is the fire fighting equipment adequate for the risks present? |  |  |  |  |  |  | YES |  |  |  |  |  |  |  |  |  |
| Are housekeeping and general waste management adequate? |  |  |  |  |  |  | YES |  |  |  |  |  |  |  |  |  |
| Are security arrangements sufficient to prevent access? |  |  |  |  |  |  | YES |  |  |  |  |  |  |  |  |  |
| Are measures adequate to prevent the incidents of arson? |  |  |  |  |  |  | YES |  |  |  |  |  |  |  |  |  |
| Are there any large open roof spaces or concealed ceiling voids? |  |  |  |  |  |  | YES |  |  |  |  |  |  |  |  |  |
| Could a fire in your premise spread to another? |  |  |  |  |  |  | B |  |  |  |  |  |  | NO |  |  |
| Can the fire service easily get to your premises? Access to rear car park area, via access road to adjacent Nursing Home, Some restrictions due to Car Parking Area to Rear. |  |  |  |  |  |  | YES |  |  |  |  |  |  |  |  |  |
|  | If you have answered NO to any question above complete the details below: - |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | What needs to be done to make each situation safe? |  | Action required by whom |  |  |  |  | Date due |  |  |  |  | Date complete |  |  |  |
|  | NONE LISTED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Step 4- Record, Plan, Inform, Instruct and Train |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| You must record your fire safety arrangements – this includes: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Have you made an emergency plan? |  |  |  |  |  |  |  |  |  | YES |  |  |  |  |  |  |
| Have you provided fire instruction and staff training? |  |  |  |  |  |  |  |  |  | YES |  |  |  |  |  |  |
| Are there records of fire drills to test your training and emergency plan? |  |  |  |  |  |  |  |  |  | YES |  |  |  |  |  |  |
| Are there records of maintenance on all fire safety measures? |  |  |  |  |  |  |  |  |  | YES |  |  |  |  |  |  |
| Have you recorded the significant findings of this assessment on Page 9? |  |  |  |  |  |  |  |  |  | YES |  |  |  |  |  |  |
|  | If you have answered NO to any question above complete the details below: - |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | What needs to be done to make each situation safe? |  | Action required by whom |  |  |  |  | Date due |  |  |  |  | Date complete |  |  |  |
|  | - NONE REQUIRED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Step 5 ~ Review |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Your fire safety risk assessment must be kept up to date |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date of next review: January 1st 2027: It is recommended that you review your fire safety risk assessment regularly (recommended every 12 months) OR if you make changes to the layout of your premises, any changes to work processes, significantly increase the amount of combustible materials stored or displayed or sources of ignition, change your opening hours (eg to include night time opening etc) or any failures in your fire safety precautions then you should review your fire safety risk assessment. |  |  |  |  |  |  |  |  | This Review Date: 01/01/2026 |  |  |  |  |  |  |  |

.

Framwellgate Moor Youth & Community Association

SIMPLE PREMISES FIRE SAFETY RISK ASSESSMENT

LEVEL OF FIRE RISK

In premises where there is a likelihood of a fire starting and spreading quickly, or a fire could start and grow undetected, and affecting the escape routes before people can use them, then the level of risk should normally be regarded at ‘higher’. Such premises might include those where significant quantities of flammable materials are used or stored; ready sources of ignition are present, eg heat producing machinery and processes; premises where significant numbers of the people are present and might move slowly or be unable to move without assistance; and premises where the construction provides hidden voids or flues through which a fire could quickly spread.

In premises where there is a low occupancy level and all the occupants are able bodied and capable of using the means of escape without assistance; very little chance of a fire starting; few if any highly combustible or flammable materials or other fuels for a fire; fire is unlikely to spread quickly; and will be quickly detected so that all people will quickly know that a fire has occurred and can make their escape, then the risk can usually be regarded as ‘lower’.

In most cases however, the risk will usually be ‘normal’.

Taking into account both the active and passive fire prevention measures and general fire precautions observed at the time of this fire safety risk assessment, it is considered that the hazard from fire (likelihood of fire) at these premises is:

| Low | X |  | Normal |  |  | High |  |
| --- | --- | --- | --- | --- | --- | --- | --- |

In this context, a definition of the above terms is as follows: -

Low:		Unusually low likelihood of fire as a result of negligible potential sources of ignition.

Normal:	Normal fire hazards (eg potential ignition sources) for this type of occupancy, with fire hazards generally subject to appropriate controls.

High:	Lack of adequate controls applied to one or more significant fire hazards, such as to result in significant increase in the likelihood of fire.

Note that, although the purpose of the above is to place the risk fire in context, the approach to fire safety risk assessment is subjective and for guidance only. All hazards and deficiencies identified in this fire safety risk assessment should be addressed by implementing all the recommendations contained in the following action plan.

The fire risk assessment should be reviewed regularly (recommended to be annually).

January Each Year:

By: Executive Committee Review Body and Building Compliance Manager

FURTHER INFORMATION RELEVANT TO RISK ASSESSMENT:

Action Plan

Framwellgate Moor Youth & Community Association

Signed:                      Date:      1st January 2026

Building Compliance Manager

Reviewed by Policy Subcommittee:

Date: 21st January 2026

Signed:

FMYCA Secretary

SIMPLE PREMISES

FIRE SAFETY ACTION PLAN 2026:

| Each item should be allocated a priority as follows: |  |
| --- | --- |
| Priority 1: | Needs attention immediately |
| Priority 2: | Needs attention within 1 month |
| Priority 3: | Needs attention within the next 6 months |
| Priority 4: | Needs attention within the next 12 months |

| Ref: | Action Required | Priority |  | Action by Whom |  |  |  |  | Completion Date |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | NONE | NONE |  |  |  |  |  |  |  |  |  |  |
| Complete a simple line drawing of the premises and identify your fire safety provisions including escape routes, portable fire extinguishers, smoke and / or heat detectors, emergency lighting and fire alarm call points. |  |  |  |  |  |  |  |  |  |  |  |  |
| KEY Escape Routes Fire Extinguishers Smoke Detectors SD Heat Detectors HD Fire Alarm Sounders Emergency Lighting EL Manual Break Glass Point MBGP |  |  |  |  |  |  |  |  |  |  |  |  |
| See attached drawings for information for the above: 1) Escape route location plan 2) Manual Break Glass Points 3) Fire Extinguishers Identifying Ignition and Fuel Sources As an aid to identifying the hazards within your premises it’s possible to use a system of noughts and crosses, using an X to mark ignition sources and an O for fuel sources. |  |  |  |  |  |  |  |  |  |  |  |  |